International Door, Inc.

8001 Ronda Drive

Canton, MI  48187

(800) 231-9521

Website:  www.international-door.com

Sales Dept. E-Mail:  sales@international-door.com

Engineering Dept. E-Mail:  engineering@international-door.com

U.S. JET DOOR -  MODEL 2002 A

PART 1- GENERAL

- SCOPE

- Furnish and install the high speed rolling fabric doors and related work, necessary for a complete installation as shown, specified and required.

- RELATED WORK SPECIFIED UNDER OTHER SECTIONS

- Steel framed door openings - Section 05500.

- Electric power service to door control panel - Electrical Specification Sections.

- QUALITY ASSURANCE

- Installation work shall only be carried out by the unit manufacturer or by an approved installation specialist approved by the unit manufacturer.

- SUBMITTALS

- Submit detailed shop drawings of all work, and list the location in the building for each door.  Clearly show and describe in detail, door assemblies and adjacent construction, including elevations, sections, details of the door, track, hardware, operating components, dimensions, gauges, finishes and the relationship of the door, frames, track, hardware and operating components to adjacent construction.

- Submit product data covering catalog items including cuts of specified door controls and complete electrical schematics.  If catalog is general in nature, indicate the specific items (and related accessories) proposed for use.

- Submit printed operation instructions and maintenance data for the doors as follows:

- Wiring diagrams: “as built” straight line wiring diagrams showing electrical connections and control circuitry.

- Instructions showing operation.

- Lubrication chart indicating lubrication points and type of lubricant recommended for equipment.

- GURANTEE

- Provide to the OWNER in written form a guarantee, warranting the doors against any defects or materials and/or workmanship for the new door for a period of 1 year commencing from the date of final acceptance of the door.  State that all door and control work that becomes defective during the guarantee period shall be repaired promptly, to the requirements of these Specifications and at no cost to the OWNER.

- PRODUCT DELIVERY, STORAGE AND HANDLING

- Deliver materials in sequence to meet the installation schedule and arrange ahead for off the ground, covered storage locations.

- Handle components with care.  Protect against damage, dirt, disfigurement and weather.

- Protect other work resulting from work of this section.  Replace work which cannot be satisfactorily repaired or restored at no additional cost to the OWNER.

# PART 2 – PRODUCTS

- GENERAL

- Provide face mounted high speed rolling fabric doors of size required to close the openings.  Provide electric motor operation with all electrical controls complete with emergency manual operation and safety features.

- MATERIALS

- Fabricate doors of PVC fabric complete with steel frame, motor, “break-away” bottom bar, push button controls-both sides, and “built in” wind bars.  Door, self-lubricating guides, hardware, motor operator, and electrical controls shall be designed and built in the U.S.A.

- International Door, Inc., U.S. Jet Door. Part # IDI-HSFB-2002A

Openings to 12’ in width    Model “12”

Openings     12’1” to 16’    Model “16”

Openings     16’1” to 24’    Model “24”

- Door guide members shall be fabricated from structural quality tubular steel conforming to ASTM A500/513, low profile construction, recessed back from building jambs to protect them from damage.  The guide tracks shall be equipped with unique lock-down type hinges, which permit easy access to the fabric for cleaning and maintenance.  Door guides shall be self supporting, no vertical load is transferred to the building.  There shall be no springs,  rollers or pulleys inside the guide tracks.

- Guide tracks shall be equipped with self lubricating material to reduce panel friction.

- Fabric shall be made from 2.5 mil thick PVC, coated with oil and fire resistant polyester, reinforced with a “w” shaped woven center core to provide dimensional stability and maximum wind load sustaining capacity.  Each fabric panel shall be seamless and fabricated without splices or joints.

- Full view PVC vision panels are available as an option.  The PVC material shall be nominally 1/8” thick and shall be: transparent, flexible, wear resistant and insensitive to light exposure.  The PVC material shall withstand temperatures down to -40 F and shall conform to UL94V-0 flame rating test.  The PVC material is formulated with an ultraviolet stabilizer and a flame retardant additive.

- Weather seals shall be flexible nylon brush type.  Seals are secured with bolts and continuous steel retainers for easy replacement.

- Bottom bar breakaway tabs shall be provided to support the door against wind loads.

- Fail safe safety edge shall reverse the door to the open position if an obstruction is met.  The design assures that the edge is operable while the door is closing.  The safety edge is constructed with replaceable components if the jacket or any other part is damaged.  This also serves as the bottom weather seal.

- The bottom bar “break-away tabs” shall be designed to break away if struck by a vehicle and allows bottom bar to swing free from the side guide tracks.  The fabric can be reinserted into the guide track by opening the door beyond the guide track.  Another option is by opening the hinged side guide tracks.  This will allow the fabric to be reinserted.  Once the fabric has been reinserted, the side guide tracks can be closed and locked down.

- EMERGENCY MANUAL OPERATION

- Provide and install devices and make provisions for emergency manual hand crank operation.  Before setting for hand crank operation, the brake must be released and control circuit shall be broken.

- ELECTRIC OPERATORS, CONTROLS AND EQUIPMENT

- Designed exclusively for the U.S. Jet Door.  Consists of a totally enclosed, NEMA designed, single speed, 3-phase electric motor with heavy-duty brake.  The reducer is a high efficiency helical bevel right angle type.  It is fitted with a precision carbonized hardened spiral bevel and crowned helical gearing, double lip spring loaded seals and high capacity ball and tapered bearings.  The reducer is filled with a special lubricant for longer life.  The drive system is designed to open and close the door at 3.25 feet per second (195 ft./min.).  The motor and all electrical components are pre-wired at the factory and connected to the NEMA 12 junction box mounted on the drive assembly.

- Assume responsibility for door operator, size of motor, and other mechanical devices, furnished and installed under this heading.  This responsibility to continue throughout the entire guarantee period.

- Master push button control panel shall be enclosed in U.L. labeled NEMA 12 enclosure, (NEMA 7 for hazardous areas) with flanged fuse disconnect, 460-120 volt transformer, size 1 reversing starter, and fail safe edge control.  Components shall be an integral part of the sub-plate, front wired and mounted for easy replacement.  Wiring shall be neatly grouped and placed in wire duct, or neatly placed where required and wired to coded terminal strips within the panel to accept external wires.

- Remote-Control Station: Provide momentary-contact, three button station with pushbutton controls labeled “Open”, “Close” and “Stop”.

- Provide interior units, full-guarded, surface-mounted, heavy-duty type, with NEMA ICS 6.                         Type 12 enclosure.

- Provide exterior units, full-guarded, surface-mounted, weatherproof type.  NEMA ICS 6.  Type 4 enclosure.

- Motor shall be 220/440 volt, 3 phase, 60 cycle, totally enclosed, ball bearing, continuous duty and of capacity sufficient to operate the door at specified speed without exceeding a temperature rise of 55 degrees Celsius.  Braking device to be operated automatically by a solenoid and be adjustable to suit the requirements of the door.

- Motor Speed: 1800 rpm unless otherwise indicated

- Manufacturers: Subject to compliance with requirements, provide products by one of the following.

- Lincoln

- Marathon

- Reliance

- US Motor

- Electric Motors: Provide motors complying with automotive Standards Specification.

- Motors ¼ HP and over- inductive type NEMA design B nameplate rated for 460 volts, three phase, 60 hertz.

- Frames: Where manufacturer option supplies 143T-Frames or 56 Frames provide 143-T Frame.

- Limit Switches: Provide adjustable switches, interlocked with motor controls and set to automatically stop door at fully opened and fully closed positions.

- ADA compliant audible alarms and visual indicating lights are available as an option to all electric operators.

- Radio Control: Provide radio control system as an option consisting of the following:

- 3-Channel universal coaxial receiver to open, close and stop door, 1 per operator

- Multifunction remote control

- Remote antenna mounting kit

- Pull-Cord Operation as an option:  The doors may be operated by a pull-cord device which consist of a switch mounted overhead and away from the door so that a driver may open and close the door without leaving the vehicle.  The switch shall be heavy-duty, oiltight and weather proof.  All relays and contacts to operate and sequence this device shall be included in the control panel.

- Fully Automatic controls as an option:  Fully automatic electric control panel includes a flange-mounted, fusible disconnect switch, size 1 reversing starter, fail-safe safety edge controls, loop detector amplifier, timers, relays, pilot lights, selector switches, terminal blocks, etc., all built in a NEMA 12 enclosure to confirm to JIC automotive standards.  Loop detector wires are embedded in floor on either side of door to open door automatically.  Modulated L.E.D. through beam electric eye beams are unbroken.

- Electrical power required for standard operators is 220/480 volts, 3 phase, 3 wire, 60 hertz and is to be provided by the electrical contractor.

- Ground Fault Detection:  This system shall incorporate ground fault detection with indicating lights on the face of the control panels, complying with automotive standards.

# Part 3 – EXECUTION

3.1 INSTALLATION

- Install steel supports, extending as required for complete support of side and top self supporting frames, roll cover, operating hardware and electric operators.  Provide auxiliary plates where necessary for support of guide assembly.  Provide required brackets, fastening devices, hangers, bolts, etc.

- Perform drilling, tapping and cutting of frames and other work required to install new doors, frames, operators, hardware, fittings, etc., and provide necessary bolts, anchors, inserts, and supplementary framing and supports required to complete the work.

- Install units to fit tight at edges of jambs and head of frames and ensure smooth operation under all conditions of operation.  Leave in proper condition in all respects, to the satisfaction of the OWNER.

- ELECTRICAL WORK

- Install a complete electrical system as specified, including installation and wiring of control panels, limit switches, etc.  Wire controls to a terminal strip and clearly mark to correspond with terminals in electrical operator.

- Wiring for the door system shall be done by electrical contractor.  All electrical equipment and installation shall conform to JIC/Automotive standards and comply with NFPA 70, NEC 96, state and local standards.

- Electrical equipment identification

- Identify control and indicating devices on front panel of door control panels with lamicoid nameplates.

- Tags indicating component number of function shall be provided and installed on, but not limited to, motor, limit switches, etc.

- Nameplates shall be laminated phenolic plastic, white front and black with white core, with lettering etched through the outer covering.  Black engraved letters on white background.

- Securely fasten nameplates to the equipment with Number 4 Phillips round-head cadmium plated steel self-tapping screws.

- Conductors at points of connection shall be identified with Electrovert Type Z cable markers.  The identification shall correspond to the shop drawings, and to OWNER’s directions.  Any uncertainty regarding identification will be clarified by the OWNER.

- Components inside the control panel, etc., shall be identified with Dymo tape.

- Color coding shall utilize the following color coding throughout, no other colors will be accepted:

- Red		-  AC control circuits

- Black	-  Line and load circuits at line voltage, AC or DC

- Blue	-  DC control circuits

- Green	-  Ground

- White	-  Neutral

- Yellow	-  Interlock

- LUBRICATION

- Upon completion of erection of units and operating equipment, lubricate moving parts before operation.

- Grease sprockets, bearings, cables, link chains and guides.  Lubricant shall be as recommended by manufacturer.

- DEMONSTRATION

- Cycle new door and demonstrate the operation of same to satisfaction of OWNER at time of acceptance of completed work.

END OF SECTION